## ELe & Controls
SCORPIO ENGG. BMH PVT. LTD.
BANGALORE
APPLICATION DATA SHEET
FOR
ELECTRICALS / CONTROLS
CLIENT DETAILS
Client's name : |  |  |  |  | Contact Person/
[5 empty] | Designation | :
Address :
[5 empty] | Phone | :
1. | Control Panel |  |  | Required | Not required | (IP 54 / 65 / 66)
2 | TYPE |  |  | PLC | Hard Wired | / With MIMIC
3 | HMI / Graphics interface |  |  | Required | Not required
:
4 | SCADA |  |  | Required | Not required
5 | Licensed software |  |  | Required | Not required
6 | Desktop PC / Inkjet Printer |  |  | Required | Not required
7a | Motor Control Centre |  |  | Required | Not required | (IP 54 / 65 / 66)
b | Type |  |  | Compartmentalised | Non compartmentalized |  | Draw out type
c | Local Push Button stations |  |  | Required | Not required
8 | Special safety interlocks |  |  | Required | Not required
9 | Power Cables |  |  | Required | Not required | (Armoured cables)
10 | Control Cables |  |  | Required | Not required | (Armoured cables)
11 | Communication Cables |  |  | Required | Not required | (Shield cables)
12 | Field Junction Boxes |  |  | Required | Not required
13 | Cable trays |  |  | GI Perforated | SS perforated |  | Not Required
14 | Earthing Strips / wires |  |  | GI | Copper | Not required
15 | Earth pit / Earth electrode |  |  | By Purchaser
16 | Input Power |  | : | 3 phase / 4 wire / 415 V AC / 50Hz
17 | Control Voltage |  |  | 24 V DC / 110V AC / 230V AC
18 | Safety Mats |  | : | Required | Not required
19 | Paint |  |  | Powder coated / (Siemens Gray)
20 | Anchor Bolt for foundation |  |  | Included
21 | Switch Gear / Connectors (Make) |  |  | Siemens / Telemechanic / Elmax
22 | Any Special Instruction to supplier?
23 | Check the Fitment of the equipment to the layout |  |  |  |  | By Purchaser
Sheet 1 of 1